## Device List
HFT - Connected RF Devices List
Device manufacturer | Device model | Device type | Ethernet MAC | USB-Vendor-ID | USB-Product-ID | iSerial | GPIB-Address | COM1 | COM2
PROLOGIX | GPIB-USB Controller Rev-6.4.1 | Interface | N / A | 0x0403 | 0x6001 | PXHBDS81 | any | N / A | N / A
Zolix | SC300-1B | Rotor | N / A | 0x0403 | 0x6001 | FTB3L7TT | N / A | yes | N / A
Agilent | EXG__9kHz-13GHz | RF generator | 00:E0:4B:48:91:BE | 0x0957 | 0x1F01 | 3 | 19d | N / A | N / A
HP | 8340B__10MHz-26.5GHz | RF generator | N / A | N / A | N / A | N / A | ? | yes | yes
Rohde & Schwarz | SMB100A__9kHz-6GHz | RF generator | 00:90:B8:1C:7E:95 | 0x0AAD | 0x0054 | 3 | 29d | N / A | N / A
Rohde & Schwarz | SMC100A__9kHz-3.2GHz | RF generator | 00:90:B8:1D:0B:48 | 0x0AAD | 0x006E | 3 | N / A | N / A | N / A
Rohde & Schwarz | SMIQ-03B_300kHz-3.3GHz | RF generator | N / A | N / A | N / A | N / A | N / A | yes | yes
Rohde & Schwarz | SMR-40_10MHz-40GHz | RF generator | N / A | N / A | N / A | N / A | ? | yes | N / A
Rohde & Schwarz | SWP_0.4MHz-2.5GHz | RF generator | N / A | N / A | N / A | N / A | ? | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-01 | Waveform generator | 00:19:AF:04:1F:42 | ? | ? | ? | N / A | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-02 | Waveform generator | 00:19:AF:04:1F:4E | ? | ? | ? | N / A | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-03 | Waveform generator | 00:19:AF:04:04:1C | ? | ? | ? | N / A | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-04 | Waveform generator | 00:19:AF:04:09:87 | ? | ? | ? | N / A | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-05 | Waveform generator | 00:19:AF:04:1F:48 | ? | ? | ? | N / A | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-06 | Waveform generator | 00:19:AF:04:1F:78 | ? | ? | ? | N / A | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-07 | Waveform generator | 00:19:AF:04:16:27 | ? | ? | ? | N / A | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-08 | Waveform generator | 00:19:AF:04:16:2F | ? | ? | ? | N / A | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-09 | Waveform generator | 00:19:AF:04:16:31 | ? | ? | ? | N / A | N / A | N / A
Rigol | DG1062Z__ArbFuncGenerator_1uHz-60MHz Gen-10 | Waveform generator | 00:19:AF:04:16:28 | ? | ? | ? | N / A | N / A | N / A
Rigol | DSA875__9kHz-7GHz5 | Spec | ? | 0x1AB1 | 0x0960 | 3 | N / A | N / A | N / A
Rohde & Schwarz | FSEK40_90kHz-40GHz | Spec | N / A | N / A | N / A | N / A | ? | yes | yes
Rohde & Schwarz | FSL18__9kHz-18GHz | Spec | 00:E0:33:AA:29:34 | ? | ? | ? | N / A | N / A | N / A
Tektronix | 2755P__50kHz-21GHz | Spec | N / A | N / A | N / A | N / A | ? | N / A | N / A
Rohde & Schwarz | ZVB8__150kHz-8GHz | VNA | 00:E0:33:43:51:17, 00:E0:33:44:51:17 | N / A | N / A | N / A | 17d | N / A | N / A
Keysight Technologies | E5063A__100kHz-18GHz | VNA | 00:20:0C:73:F9:FA | N / A | N / A | N / A | 17d | N / A | N / A
Keysight Technologies | E5071A__300kHz-8GHz5_Privat-Schuler | VNA | 00:07:B8:00:01:D2 | N / A | N / A | N / A | 17d (Ctrl: 21d) | N / A | N / A
<EOF>
Note on B17: Multiple devices